# Generic Air Checklist

Below is a generic checklist which can be used to help identify if there are any equipment which may be regulated by the NJDEP air pollution rules and regulations.

Does the facility have any air pollution permits?

Does the facility have any commercial fuel burning equipment (boilers, emergency generators, internal combustion engines, ovens, heaters, dryers) over one million BTUs/hr, or incinerator of any kind? (List them, including size, type and amount of fuel.)

Does the facility burn any waste oil, or any other non-commercial fuel? (List them, including amount of waste oil burned.)

Does the facility have any storage tanks storing any liquid material? (List them, including size and contents, above or below ground or inside a building.)

Does the facility have any silos, bins or containers for storage of solid particles? (List them, including size and contents.)

Does the facility transfer any liquids or solids into or from any containers or delivery vessels, including filling lines, or using pneumatic, bucket or belt conveying systems. (Describe the process, amount any type of material transferred.)

Does the facility perform any printing, graphic arts operations, spray painting or any other surface coating operation? (List them and the maximum amount of coating used per hour and per day and the VOC content of the coating material.)

Does the facility perform any plating, etching, or surface cleaning operations, either with or without solvents? (List them)

Does the facility process more than 50 lbs/hr of any raw material, excluding air and water, in any of their operations? Are there any air contaminants? (Describe any such processes.)

Does the facility have any Dry Cleaning equipment? (List them)

Does the facility process any solid waste, ground water, waste water, waste soils, sludges, yard wastes, recyclable materials, or perform the venting of any landfill or ground contamination? (Describe the processes.)

Does the facility perform any welding using welding rods or welding wire? (Describe, including amount of welding material used.)

Does the facility use any HAPS or TXS materials? (Describe use.)

Did you observe any odors or visible emissions at this facility? (Explain.)

Do you have any other comments or observations about this facility?

Does the facility have any diesel-powered trucks or buses greater than 18,000 pounds gross vehicle weight that do not have an annual emissions inspection sticker?

Does the facility use any VOC, acids or solid particulate?