DEP General Air Permit

- For step by step instructions and help go to http://www.nj.gov/dep/aqpp/gp.html

- The first step is to create a “NJ DEP” account at: http://www.njdeponline.com/

- Facility ID request- if needed (for facilities/owners that DO NOT have Air Permits).

http://www.nj.gov/dep/aqpp/downloads/PARTA2009.doc

Now do work in njdeponline: http://www.njdeponline.com/ from DEP’s homepage OR your NJ home account: http://www.nj.gov/ ,make sure you’re in the “My New Jersey” tab.

-To link your Facility ID to your account, go to “My Workspace”, under “My Facilities”. (Add facilities, put in your ID#, select facility and add).

At this point if you are the owner or person responsible for the equipment, you want to “change access” of your facility to “responsible official” see http://www.nj.gov/dep/aqpp/rocert.html

- To apply for an Air Permit, go to “General Permits” in “Air Program” under “Service Selection” from the “my workspace” tab.

- The permit you’ll need is based on the individual size of each unit for boiler/heater(s).

Follow directions, remember only the fields marked with “*” must be completed, any time you see the term “Facility’s ________”, It’s whatever you want to call it, (i.e. Boiler stack, Boiler #1, etc.).

The “permit option” is based on the sum of ALL equipment listed in the permit.

All of your work will be saved under “My Workspace” under “My Services- In Progress”.

For “SIC” and “NAICS” codes see:  http://www.naics.com/search.htm

Information needed before you apply for a permit:

Make, model and size (input btu's/hr) of the unit(s), year installed.

For boiler/heater(s): maximum BTU should be taken off the “BURNER”.

For generator(s): approx. 85KW is close to 1 MMbtu/hr.

Your NAICS code.

The most accurate way to determine a maximum heat input BTU rating is to obtain the maximum amount of fuel burned (by the engine of the generator OR at the burner of the boiler/heater(s)) in one hour (in either cubic feet of natural gas or gallons of fuel oil) and use the heating value of the fuel to convert to BTU INPUT.

The heating value of a cubic foot of natural gas is 1020 BTU/cubic foot.

The heating value of #2 oil or Diesel is 142,000 BTU/gallon.

Air Permitting

609-633-2829

## NAICS:   (search help)

| 11 | Agriculture, Forestry, Fishing and Hunting | 53 | Real Estate and Rental and Leasing |
| --- | --- | --- | --- |
| 21 | Mining, Quarrying, and Oil and Gas Extraction | 54 | Professional, Scientific, and Technical Services |
| 22 | Utilities | 55 | Management of Companies and Enterprises |
| 23 | Construction | 56 | Administrative and Support and Waste Management and Remediation Services |
| 31-33 | Manufacturing | 61 | Educational Services |
| 42 | Wholesale Trade | 62 | Health Care and Social Assistance |
| 44-45 | Retail Trade | 71 | Arts, Entertainment, and Recreation |
| 48-49 | Transportation and Warehousing | 72 | Accommodation and Food Services |
| 51 | Information | 81 | Other Services (except Public Administration) |
| 52 | Finance and Insurance | 92 | Public Administration |

General Permits currently available: GP Document Updated Bulk Solid Materials Receiving and Storage Systems GP-001 Permit 5/98 Online Application Confined Abrasive Blasting Equipment GP-002 Permit 5/98 Online Application Woodworking Equipment GP-003 Permit 5/98 Online Application Storage and Transfer of Service Station Fuels at Gasoline Dispensing Facilities GP-004 Permit 12/03 Online Application Emergency Generator GP-005 Permit 1/07 Online Application Stationary Non-Floating Roof Storage Tank(s)Storing Volatile Organic Compounds GP-007 Permit 4/00 Online Application Site Remediation Activities for Gasoline Contamination at Vehicle Fueling Stations (SVE) GP-008 Permit 7/06 Online Application Boiler(s) & Other Indirect Fired External Combustion Equipment [>= 10 MMBTU per hour & < 50 MMBTU per hour] GP-009 Permit 2/04 Online Application NON-HAP Degreaser GP-010 Permit 6/04 Online Application Degreasing Operations Using Only Methylenechloride or 1,1,1 Trichloroethane Solvents GP-011 Permit 10/04 Online Application Perchloroethylene Drycleaning Equipment GP-012A Permit 2/08 Online Application Non-HAP Drycleaning GP-013 Permit 10/04 Online Application Stage 1 for Storage & Transfer of Service station Fuels at Small Gasoline Distributors GP-014 Permit 10/04 Online Application Non-MACT Plating Operations GP-015 Permit 11/05 Application 1/10 Small Emitter General Air Permit (SEGAP) GP-016 Permit 12/05 Online Application Boiler(s) and/or Heater(s) Each Less Than 5 MMBTU/hr GP-017 Permit 4/09 Online Application Boiler(s) and/or Heater(s) Each Less Than 10 MMBTU/hr GP-018 Permit 4/09 Online Application Portable Equipment GP-019 Permit 3/10 Online Application Research & Development GP-020 Permit 7/06 Application 1/10 Annual Reporting Form 5/11 Combined Heat and Power Combustion Turbine(s) less than or equal to 65 MMBTU per hour GP-021 Permit 9/11 Application 9/11 Combined Heat and Power Stationary Spark Ignition Reciprocating Engine(s) less than or equal to 65 MMBTU per hour GP-022 Permit 9/11 Application 9/11

General Permits for the Title V Operating Permit Program

Description GP Document Updated Small Emitter General Air Permit (SEGAP) GOP-002 Permit 12/05 Application 1/10 Combined Heat and Power Combustion Turbine(s) less than or equal to 65 MMBTU per hour GOP-005 Permit 9/11 Application 9/11 Combined Heat and Power Stationary Spark Ignition Reciprocating Engine(s) less than or equal to 65 MMBTU per hour GOP-006 Permit 9/11 Application 9/11