State of New Jersey

Department of Environmental Protection

Revised: June 2018		Website: www.nj.gov/dep/landuse

Flood Hazard Area application checklist

General Permit 11― Stormwater outfall along a regulated water with a drainage area of less than 50 acres

CALL NJDEP AT (609) 777-0454 IF YOU HAVE ANY QUESTIONS

To apply for an authorization under general permit 11, please submit the information below to:

| Postal Mailing Address |  | Street Address (Courier & Hand Carry Only) |
| --- | --- | --- |
| NJ Department of Environmental Protection Division of Land Use Regulation P.O. Box 420, Code 501-02A Trenton, New Jersey 08625-0420 Attn: Application Support |  | NJ Department of Environmental Protection Division of Land Use Regulation 501 East State Street Station Plaza 5, 2nd Floor Trenton, New Jersey, 08609 Attn: Application Support |

Please note: If you apply for a verification and an authorization under a general permit at the same time, the application requirements may be combined. For example, an application for a verification and a general permit authorization each require three sets of site plans.  Rather than submitting six sets of site plans, three sets may be submitted.

CALL NJDEP AT (609) 777-0454 IF YOU HAVE ANY QUESTIONS

1.	Completed application form.

PART ONE: APPLIES TO ALL APPLICATIONS (CHECK ALL BOXES OR MARK N/A)

2.	Documentation that notice of the application has been provided in accordance with N.J.A.C. 7:13-19, as follows:

Notice to municipal clerk (N.J.A.C. 7:13-19.3(a))

A copy of the entire application, as submitted to the Department, must be provided to the municipal clerk in each municipality in which the site is located.

i. Documentation of compliance with this requirement shall consist of a copy of the certified United States Postal Service white mailing receipt, or other written receipt, for each copy of the application sent.

Notice to governmental entities and property owners (N.J.A.C. 7:13-19.3(b) and (c))

A brief description of the proposed project, a legible copy of the site plan, and the form notice letter described at N.J.A.C. 7:13-19.3(d)iii must be sent to the following recipients:

- The construction official of each municipality in which the site is located;

- The environmental commission, or other government agency with similar responsibilities, of each municipality in which the site is located;

- The planning board of each municipality in which the site is located;

- The planning board of each county in which the site is located;

- The local Soil Conservation District if the regulated activity or project will disturb 5,000 square feet or more of land; and

- Adjacent property owners:

If the application is for one of the following projects (listed at N.J.A.C 7:13-19.3(c)1-6), notice shall be sent to all owners of real property, including easements, located within 200 feet of any proposed above-ground structure, except for any conveyance lines suspended above the ground or small utility support structures (e.g. telephone poles):

- A linear project of one-half mile or longer

- A public project on a site of 50 acres or more

- An industrial or commercial project on a site of 100 acres or more

- A project to remove sediment or debris from a channel of one-half mile or longer

For any other project, notice shall be sent to all owners of real property, including easements, located within 200 feet of the site of the proposed regulated activity.

The owners of real property, including easements, shall be those on a list that was certified by the municipality, with a date of certification no more than one year prior to the date the application is submitted.

ii. Documentation of compliance with this requirement shall consist of:

- A copy of the certified United States Postal Service white mailing receipt for each public notice that was mailed, or other written receipt; and

- A certified list of all owners of real property, including easements, located within 200 feet of the property boundary of the site (including name, mailing address, lot, and block) prepared by the municipality for each municipality in which the project is located.  The date of certification of the list shall be no earlier than one year prior to the date the application is submitted to the Department.

iii. The form notice letter required under N.J.A.C. 7:13-19.3(d)1iii shall read as follows:

“This letter is to provide you with legal notification that an application for an authorization under flood hazard area general permit 11 <<has been/will be>> submitted to the New Jersey Department of Environmental Protection, Division of Land Use Regulation for the development shown on the enclosed plan(s).  A brief description of the proposed project follows:  <<INSERT DESCRIPTION OF THE PROPOSED PROJECT>>

The complete permit application package can be reviewed at either the municipal clerk’s office in the municipality in which the site subject to the application is located, or by appointment at the Department’s Trenton Office.  The Department of Environmental Protection welcomes comments and any information that you may provide concerning the proposed development and site.  Please submit your written comments within 15 calendar days of receiving this letter to:

- New Jersey Department of Environmental Protection

Division of Land Use Regulation

- P.O. Box 420, Code 501-02A

Trenton, New Jersey 08625

- Attn:  (Municipality in which the property is located) Supervisor”

Newspaper Notice (N.J.A.C. 7:13-19.4)

Newspaper notice, in the form of a legal notice or display advertisement in the official newspaper of the municipality(ies) in which the project site is located, or if no official newspaper exists, in a newspaper with general circulation in the municipality(ies), is required for the following projects:

- A linear project of one-half mile or longer

- A public project on a site of 50 acres or more

- An industrial or commercial project on a site of 100 acres or more

- A project to remove sediment or debris from a channel of one-half mile or longer

If your project is not one listed above, newspaper notice is not required.

i. Documentation of newspaper notice shall consist of:

- A copy of the published newspaper notice; and

- The date and name of the newspaper in which notice was published.

ii. The newspaper notice may be either a legal notice or display advertisement and must read as follows:

“Take Notice that an application for a flood hazard area general permit 11<<has been/will be>> submitted to the New Jersey Department of Environmental Protection, Division of Land Use Regulation for the development described below:

APPLICANT:

PROJECT NAME:

PROJECT DESCRIPTION:

PROJECT STREET ADDRESS:

BLOCK:		LOT:

MUNICIPALITY:	COUNTY:

The complete permit application package can be reviewed at either the municipal clerk’s office in the municipality in which the site subject to the application is located, or by appointment at the Department’s Trenton Office.  The Department of Environmental Protection welcomes comments and any information that you may provide concerning the proposed development and site.  Please submit your written comments within 15 calendar days of the date of this notice to :

New Jersey Department of Environmental Protection

Division of Land Use Regulation

P.O. Box 420, Code 501-02A

501 East State Street

Trenton, New Jersey 08625

Attn:  (Municipality in which the property is located) Supervisor”

Notice for projects located in the Pinelands Area

For a project in the Pinelands Area as designated under the Pinelands Protection Act at N.J.S.A. 13:18A-11.a, documentation showing that a copy of the completed application form has been provided to the New Jersey Pinelands Commission.

3.	The appropriate application fee, as specified in N.J.A.C. 7:13-20.1, in the form of a check (personal, bank, certified, or attorney), money order, or government purchase order made payable to “Treasurer State of New Jersey.”

4.	Three sets of site plans, certified in accordance with N.J.A.C. 7:13-18.2(j). Prior to issuance of any permit, the Department will require four to five sets of final site plans. The site plans must be signed and sealed by a New Jersey licensed professional engineer, surveyor, or architect, as appropriate, pursuant to N.J.A.C. 13:40-7.2 through 7.4. The site plans must include the scale of the site plans, a north arrow, the name of the person who prepared the plans, date the site plans were prepared, and the applicant’s name and the block, lot, and municipality in which the site is located. In addition, the site plans shall include the following information, both on and adjacent to the site, in accordance with N.J.A.C. 7:13-18.4(a)4:

i. Existing features:

- Lot lines and right-of-way lines;

- Land cover and vegetation; and

- Structures within 25 feet of the channel.

ii. Proposed regulated activities:

- Proposed limit of disturbance;

- Details of all proposed structures and stabilizing material in both plan view and profile; and

- Details of any planting to restore disturbed areas in accordance with N.J.A.C. 7:13-6.7(b)5.

iii. Topography:

- Existing and proposed topography. All topography must reference NGVD or include the appropriate conversion factor to NGVD.

iv. Soil erosion and sediment control:

- Details of any proposed soil erosion and sediment control measures; and

- Proposed best management practices to minimize downstream transport of sediment during the activity.

v. Riparian zone:

- The location of any riparian zone onsite (see N.J.A.C. 7:13-4.1).

vi. Metes and bounds description:

- Not required for this general permit.

vii. Flood hazard area/floodway information:

- A depiction of any flood hazard area and floodway limits shown on a Department delineation or FEMA flood insurance study, where such depictions exist (see N.J.A.C. 7:13-3).

viii. Details of construction proposed in a regulated water:

- A thorough description of proposed construction methods;

- A timetable for construction; and

- Details of any trenching, diversionary channels, temporary piping, and other disturbances to the regulated water.

5.  State plane coordinates in accordance with N.J.A.C. 7:13-18.4(a)5.

i. For a linear project, of one-half mile or longer, include State plane coordinates at the endpoints of the project and State plane coordinates for points located at 1,000-foot intervals along the entire length of the project;

ii. For a linear project of less than one-half mile in length, include State plane coordinates at the endpoints of the project;

iii. For all other projects, State plane coordinates at the approximate center of the site (within 50 feet of the actual center)

6.  Color photographs depicting the entire site and location of the proposed outfall.  Photographs must be mounted on 8½ -inch by 11-inch paper and accompanied by a map showing the location and direction from which each photograph was taken. Copies of photographs are acceptable provided they are color copies. Black and white copies of photographs are not acceptable.

7.  Any calculations or analyses submitted as part of an application must include the certification set forth at N.J.A.C. 7:13-18.2(j).

8. 	A written narrative of avoidance and/or minimization of impacts to threatened or endangered wildlife or plant species habitat in and near the project area, as applicable.

9. Color copies of the following maps:

- The tax map for the property;

- A copy of the portion of the county road map showing the property location; and

- A copy of the USGS quad map(s) that include the site, with the site clearly outlined to scale.

10. 	A copy of an NJDEP, Office of Natural Lands Management Natural Heritage Database data request 	response for endangered or threatened species of flora or fauna, including a Landscape Map report.

11.   A written narrative explaining how each requirement of general permit 11 at N.J.A.C. 7:13-9.11 will be met 	by the proposed project.