## IESWTR Turbidity Report
BSDW - 22 Revised 02/02 | [7 empty] | New Jersey Department of Environmental Protection |  |  |  |  | Page 1 of 2
Water Supply Administration - Bureau of Safe Drinking Water
401 East State Street, P.O. Box 426
Trenton, New Jersey 08625-0426
Tel (609) 292-5550 Fax (609) 292-1654
[8 empty] | IESWTR Turbidity Report |  |  |  |  | TU
System Name: | [9 empty] | PWSID #
Address: | [9 empty] | Facility Name:
City: | [5 empty] | State: |  | Zip: |  | Facility ID #:
[9 empty] | Monitoring Period |  | Month |  | Year
| #DIV/0! | Check here if more than 5% of results >0.3NTU | [7 empty] | Check here if any result > 1NTU
| A | Combined Filter Effluent Turbidity Results
| 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7
| Total number of hours plant operated this month |  | Number of Measurements Required |  | Number of Measurements Taken |  | Number of Measurements exceeding 0.3NTU |  | Percentage of Measurements exceeding 0.3NTU |  | Number of measurements exceeding 1NTU |  | Longest Duration Measurement exceeded 1NTU
|  |  | 0 | [5 empty] | #DIV/0!
|  | B | For each result exceeding 1NTU Report:
|  | Date | Time | Value |  | Date | Time | Value |  | Date | Time | Value
[5 empty] | NTU |  |  |  | NTU |  |  |  | NTU
[5 empty] | NTU |  |  |  | NTU |  |  |  | NTU
[5 empty] | NTU |  |  |  | NTU |  |  |  | NTU
[5 empty] | NTU |  |  |  | NTU |  |  |  | NTU
| C | Individual Filter Turbidity Exceedances Report
Check here if any individual filter had turbidity > 1.0 NTU in two consecutive measurements 15 minutes apart 141.175(b)1
Check here if any individual filter had turbidity > 0.5 NTU in two consecutive measurements 15 minutes apart after the first 4 hours of operation 141.175(b)2
Check here if any individual filter had turbidity > 1.0 NTU in two consecutive measurements 15 minutes apart at any time in each of 3 consecutive months 141.175(b)3
Check here if any individual filter had turbidity >2.0 NTU in two consecutive measurements 15 minutes apart any time in each of 2 consecutive months 141.175(b)4
If any of the above boxes have been checked you must submit the Individual Filter Report form (BSDW - 23)
| D | Turbidimeter Calibration |  |  |  | Indicate if applicable to ALL or specify Filter #'s |  |  |  | CHECK HERE if any turbidimeter
failure required grab samples to be taken.
| Date Calibrated |  | Calibration Method | [5 empty] | If failure exceeded 24hrs give details below:
[9 empty] | Start Date | Time | End Date | Time | Filter #
I certify that individual filter turbidity monitoring has been conducted in accordance with 40 CFR 141.174
I certify that these samples were collected and analyzed in accordance with procedures approved by the New Jersey Department of Environmental Protection
Licence #
[5 empty] | Print |  |  |  |  | Phone |  |  | Date
| Signature of Licensed Operator |  |  |  | Name
This form is available from the DEP web site at http://www.state.nj.us/dep/watersupply

## Individual Filter Report Form
BSDW - 23 Revised 02/02 | [6 empty] | New Jersey Department of Environmental Protection |  |  |  |  | Page 1 of 2
Water Supply Administration - Bureau of Safe Drinking Water
401 East State Street, P.O. Box 426
Trenton, New Jersey 08625-0426
Tel (609) 292-5550 Fax (609) 292-1654
[7 empty] | Individual Filter Exception Report | [5 empty] | FR
System Name: | [8 empty] | PWSID #
Address: | [8 empty] | Facility Name:
City: |  |  |  |  | State: |  | Zip: |  | Facility ID #:
|  | Filter Number | [5 empty] | Monitoring Period |  | Month |  | Year
If you checked any of the Individual Filter Turbidity Exceedances Report boxes on the IESWTR Turbidity Report (BSDW -22) complete this form for each applicable filter.
For each turbidity exceedance this month report:
|  | Date | Time |  | Value | NTU | Date |  | Time |  | Value | NTU
If filter had turbidity > 1.0 NTU in two consecutive measurements 15 minutes apart
Check here if filter profile was completed within 7 days of the exceedance or specify below the obvious reason for the filter performance. You are required to retain the filter profile on record for future inspection.
If filter had turbidity > 0.5 NTU in two consecutive measurements 15 minutes apart after the first 4 hours of operation
Check here if filter profile was completed within 7 days of the exceedance or specify below the obvious reason for the filter performance. You are required to retain the filter profile on record for future inspection.
I certify that these samples were collected and analyzed in accordance with procedures approved by the New Jersey Department of Environmental Protection
Licence #
|  |  |  | Print |  |  |  |  | Phone |  |  | Date
| Signature of Licensed Operator |  |  | Name
This form is available from the DEP web site at http://www.state.nj.us/dep/watersupply