New Jersey Department of Health

# Division of Health Facility Survey and Field Operations

# FACILITY INSPECTION WORKSHEET

# Resident Rights, Physical Plant and Environment, Safety, Dietary Services

(ALL REFERENCES ARE TO N.J.A.C. 8:36)

| License Name | Facility ID No. |  | Date of Survey |
| --- | --- | --- | --- |
| Address |  | Bed Capacity |  |
| Facility Representative |  | Telephone Number |  |

| Subchapter 16 | PHYSICAL PLANT AND ENVIRONMENT |
| --- | --- |
|  | VENTILATION |
| 8.36 16.3 | Does every habitable room have means of ventilation (window or mechanical ventilation? Yes No N/A |
| 8.36 16.4 | Small passageways, aisles and corridors maintain an unobstructed minimum of 44 inches. Yes No N/A Are all exits unobstructed? Yes No N/A |
|  | AUTOMATIC FIRE DETECTION SYSTEM |
| 8.36 16.5 | Do all residents’ bedrooms, living rooms, and studio apartments have smoke detectors? Yes No N/A |
|  | INTERIOR FINISH REQUIREMENT |
| 8.36 16.7 | Are interior walls, ceiling and floor finishes free of any major damage? Yes No N/A Are stairs and hallways free from hazards and obstructions? Yes No N/A Are ceiling tiles in place and free from stains? Yes No N/A |
|  | GENERAL RESIDENTIAL UNIT REQUIREMENTS |
| 8.36 16.8 | Is the Residential Unit lockable? Yes No N/A |
|  | TOILETS, BATH, AND HAND WASHING SINK |
| 8.36 16.9 | Does the unit have a bathroom with a toilet, bathtub and a shower? Yes No N/A Are additional toilets in areas other than residents' units? Yes No N/A |
|  | ### COMMUNITY SPACE |
| 8.36 16.11 | Adequate space for Common Areas? Yes No N/A |
|  | LAUNDRY EQUIPMENT – ALR (CPCH) |
| 8.36 16.12 | When commercial type laundry equipment is utilized: Is the laundry room protected by a fire separation assembly of at least one-hour rated construction? Yes No N/A Does the facility have at least one washer and dryer for residents' use? Yes No N/A Are all dryers vented to the outside of the building? Yes No N/A |
|  | ADMINISTRATION AND PUBLIC |
| 8.36 16.14 | Wheelchair access Yes No N/A Interview space Yes No N/A Mailboxes Yes No N/A Offices for records and staff possessions Yes No N/A |
|  | FIRE EXTINGUISHER SPECIFICATIONS |
| 8.36 16.15 | Are all fire extinguishers unobstructed, properly labeled and secure? Yes No N/A Adequate number and type? Yes No N/A |
|  | SOUNDING DEVICES |
| 8.36 16.16 | Sounding device Alarm or self-locking doors? Yes No N/A |

| Subchapter 14 | EMERGENCY SERVICES AND PROCEDURE |  |  |
| --- | --- | --- | --- |
|  | EMERGENCY PLANS AND PROCEDURE |  |  |
| 8.36 14.1 (d) | AED Onsite? Yes No |  |  |
|  | Location: |  |  |
|  | DRILLS |  |  |
| 8.36 14.3 | *Does all staff participate at least annually? Yes No N/A * Interviews |  |  |

| Subchapter 17 | PROVISION OF SERVICE GENERAL SAFETY, BUILDING AND GROUND |  |  |
| --- | --- | --- | --- |
|  | HOUSEKEEPING |  |  |
| 8:36 17.1-17.2 | Are all furnishings clean and in good repair? Yes No N/A Are thermometers located within refrigerator and freezers? Yes No N/A Are Residential Units clean to sight and smell, clutter free? Yes No N/A Adequate pest control? Yes No N/A Does facility utilize a “call bell system?” Yes No If Yes: Does facility have a policy on responding to “call bells”? Yes No On interview, are there any complaints about slow response time? Yes No |  |  |
|  | RESIDENT ENVIRONMENT |  |  |
| 8:36 17.3 (a) (8) | Are articles in storage elevated from the floor? Yes No N/A |  |  |
| 8:36 17.3 (b) (4) | Are all poisonous and toxic materials identified, labeled and stored in a locked cabinet or room? Yes No N/A |  |  |
| 8:36 17.3 (b) (5) | Are combustible materials stored in accordance with Fire Safety requirements specified in the NJ Uniform Code N.J.A.C. 5:70? Yes No N/A |  |  |
| 8:36 17.3 (b) (8) (i – ii) | Are electrical outlets free from damage? Yes No N/A Are electrical cords used? Yes No N/A |  |  |
|  | HEATING AND AIR CONDITION |  |  |
| 8:36 17.5 | Resident areas fully air-conditioned and heated? Yes No N/A |  |  |
| 8:36 17.5 (a) (2) | Are portable heaters in use? Yes No N/A |  |  |
| 8:36 17.6 (b) | Is the domestic hot water temperature range between 105 F and 120 F? Yes No Is the water temperature monitored? Yes No Are discrepancies in the log addressed by maintenance? Yes No |  |  |
|  | If Yes, how? |  |  |
|  | BUILDING AND GROUNDS MAINTENANCE |  |  |
| 8:36 17.7 | Are handrails present and secure? Yes No N/A Are ventilation grills clean and unobstructed? Yes No N/A Exit lights are unobstructed and lit? Yes No N/A Do emergency lights work when tested? Yes No N/A Self-closing doors are not obstructed or held open with wedge, chairs, etc.? Yes No N/A When fire doors are closed, do they close all the way into the frame and latch shut? Yes No N/A Do double smoke doors have a gap less then 1/8 inch when closed? Yes No N/A Are cylinders secured in carts, stands or chained to the wall? Yes No N/A Is there an 18" clearance under sprinkler heads? Yes No N/A |  |  |
|  | LAUNDRY SERVICE |  |  |
| 8:36 17.8 | Soiled and clean laundry shall be kept separated. Yes No N/A If laundry services provided on-site, is there an area for receiving, sorting and folding with a hand washing sink? Yes No N/A |  |  |

| Subchapter 10 | DIETARY SERVICES |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | REQUIREMENTS FOR DINING SERVICES |  |  |  |  |
| 8:36 10.5(a) | The facility and personnel shall comply with the provisions of N.J.A.C. 8:24, Retail Food Establishments and Food and Beverage Vending Machines Chapter XII of the New Jersey Sanitary Code. Does facility kitchen have a commercial dishwashing machine? Yes No |  |  |  |  |
|  | If yes: Sanitizing Solution used: |  |  |  |  |
|  | Does it reach maximum hot water temperature? Yes No Does facility use a 3-compartment sink? Yes No If yes: Are they using the 3 compartments appropriately? Yes No |  |  |  |  |
|  | Sanitizing Solution used: |  |  |  |  |
|  | Does the facility have a food temperature log in the kitchen? Yes No Are staff taking food temperatures prior to serving? Yes No On interview, do the residents complain about food temperatures? Yes No If yes: Review log and take food temperatures with digital thermometer: |  |  |  |  |
|  | Hot = at least 140 degrees F; Cold = 45 degrees F. or below. |  |  |  |  |
| 8:36 10.5(c) | Are menus posted in kitchen? Yes No If not, does facility give menu to each resident daily/weekly? Yes No Does the kitchen staff use appropriate measured utensils, i.e., spoodles, cups, etc. to portion the food onto the plates? Yes No |  |  |  |  |

| Subchapter 2 and Subchapter 4 | LICENSURE PROCEDURES AND RESIDENT RIGHTS #### POSTING AND DISTRIBUTION OF STATEMENT OF RESIDENT RIGHTS |
| --- | --- |
| 8:36 2.5(c) 4.1(a)(38) (40) | ### Are these posted in conspicuous places in the facility? - Facility’s current license? Yes No - Resident Rights? Yes No - Phone numbers for the Ombudsman, NJDOH and County Agencies? Yes No |

| Subchapter 5 | GENERAL REQUIREMENTS |
| --- | --- |
| 8:36 5.11(a)1-7 | Is notice posted that the following are available for review during normal business hours? Yes No - Waivers; - Copy of last inspection report; - Policies regarding Resident Rights; - Business Hours of facility; - Policies and Procedures regarding maintaining security of the facility; - Toll-free hot line number of the Department; - Telephone numbers of county agencies; - Telephone numbers of the State of NJ, Office of the Ombudsman; and - The names of, and a means to formally contact, the owner and/or members of the governing authority. |

| Name of Surveyor Completing Form | Date Completed |
| --- | --- |