## Slide 1
Solar Siting
Stakeholder Meeting #2
April 8, 2022

## Slide 2: Welcome
This is the third public stakeholder meeting for
Docket # QO21101186
Competitive Solar Incentive (“CSI”) Program
pursuant to P.L. 2021, c.169
This meeting will focus on Appendix B of the Solar Siting Straw Proposal released on March 16, 2022.

## Slide 3: Webinar Instruction Page
All attendees will be automatically muted.
Questions? Please use the “Q & A” function in Zoom.
Please note that the “Chat” function in Zoom is not available for this meeting.
This meeting is being recorded. By attending and participating in this meeting, you acknowledge and consent to being recorded.
A copy of the recording and slides will be made available on the New Jersey Board of Public Utilities (“NJBPU”) website: https://www.nj.gov/bpu/newsroom/public/ .

## Slide 4: Disclaimer
This presentation is provided for informational purposes only and should not be taken to represent the views of the NJBPU, its Commissioners, or the State of New Jersey.
Please be aware that any information presented is subject to change if there are changes to New Jersey statutes, rules, or policies.
All viewers are responsible for ensuring that they rely only on current legal authority regarding the matters covered in the presentation.

## Slide 5: Written Stakeholder Comment Guidelines
The initial deadline for comments on the Siting Straw is 5:00 p.m. ET on Friday, April 22, 2022. Possible extension due to stakeholder request.
Please submit comments directly to Docket No. QO21101186, using the “Post Comments” button on the NJBPU’s Public Document Search tool.
Comments are considered “public documents” for purposes of the State’s Open Public Records Act and any confidential information should be submitted in accordance with the procedures set forth in N.J.A.C. 14:1-12.3.
Written comments may also be submitted to:
    Secretary of the Board
    44 South Clinton Avenue, 1st Floor
    Post Office Box 350
    Trenton, NJ 08625-0350
    Phone: 609-292-1599
    Email: board.secretary@bpu.nj.gov

## Slide 6: Agenda
Background review
Agriculture presentation on today’s focus areas
  Existing Site Conditions
  Development Guidelines
  Monitoring and Remediation
Stakeholder Comment Guidelines
Stakeholder Comment Session

## Slide 7: Poll: Participants
Notes: Poll:
Please indicate your affiliation
Solar Developer
Other Solar Industry Representative
NGO
Government
Other: (please specify)

## Slide 8: Solar Program Background
Solar Act of 2021 and SuSI Program
• The Solar Act of 2021, P.L. 2021, c.169 (“Solar Act”), signed by Governor Murphy on July 9, 2021, directs the NJBPU to establish a comprehensive program to provide incentives for the development of at least 3,750 Megawatts (“MW”) of new solar power generation by 2026.
• The Board took a significant step in implementing the Solar Act by establishing the Successor Solar Incentive (“SuSI”) Program on July 28, 2021.

## Slide 9: The SuSI Program – Part 1
The SuSI Program, pursuant to the Solar Act, consists of two parts:
Part 1
A program for Small Solar Facilities, called the Administratively Determined Incentive (“ADI”) Program
  All net metered residential solar installations
  Net metered commercial solar installations of 5 MW or smaller
  A temporary program for grid supply solar installations previously covered under “Subsection (t)”
  The Community Solar program
    Note: Design of the permanent Community Solar program is the subject of another proceeding
  The ADI Program has been open for new registrations since August 28, 2021

## Slide 10: The SuSI Program – Part 2
Part 2
The Competitive Solar Incentive (“CSI”) Program, covering
  All grid supply solar installations
  Net metered commercial solar installations greater than 5 MWdc
  The CSI Program is under development, with a Straw Proposal release and further stakeholder proceedings expected soon

## Slide 11: Siting Background
The Solar Act specifies siting criteria for all grid supply solar facilities and net metered solar facilities greater than five megawatts. (N.J. Stat. § 48:3-119 (2021))
As the Solar Act directs, NJBPU Staff has consulted with the New Jersey Department of Environmental Protection (“DEP”), the New Jersey Department of Agriculture, and the State Agriculture Development Committee (“SADC”) to develop recommendations for implementing the statute.

## Slide 12: Agricultural Mitigation Guidelines Appendix B

## Slide 13: Introduction
Proposal developed by the NJDA and SADC to ensure the integrity of all agricultural lands impacted by grid scale solar development should there be a desire to return those lands agricultural use in the future
Prime and Statewide soil designations as specified by the USDA-NRCS SSURGO data
Recommended on solar development projects on agricultural lands
Required on solar development projects on Prime Agricultural and Statewide important soils within the Agricultural Development Area (ADA)
Intended to supplement the N.J. Standards for Soil Erosion and Sediment Control (N.J.S.A. 4:24-39 et seq.)
Does not alleviate the need to comply with other state and local regulations
Notes: Furthermore, many additional objective ranking criteria have been developed to better assess and describe soil series such as depth to seasonally high water table, organic matter content, and erosion risk.

## Slide 14: Project Development
Existing Site Conditions
  Identification of all soils by NRCS soils classification
  Soil Compaction Baseline
  Location of existing infrastructure
  Identification of existing erosion
  Consideration of organic farm operations either on site or adjacent to proposed project

## Slide 15
Proposed Development
  Designate a project inspector or environmental monitor
  Identify ‘occupied area’
  Identify temporary access roads and staging areas
  Soil protection measures
  Stormwater management measures
  Repair of damaged infrastructure as necessary
  Soil compaction mitigation measures
  Soil stabilization measures

## Slide 16
Monitoring & Remediation
  Total of 6 years with alternate year evaluation
  Record keeping
  Bulk density testing
  Repair of erosion and drainage issues
  Revegetate areas of sparse vegetation

## Slide 18: Commenting ground rules
Please state your name and organization
Please limit your comments to the specific matter at hand
Remain respectful of other commenters
Please limit your comments to approximately 5 minutes
At 3:00 pm, we will take a 15 min break

## Slide 19: Stakeholder comments

## Slide 20: Break
The meeting will resume at 3:15 PM

## Slide 21: Stakeholder comments

## Slide 22: Written Stakeholder Comment Guidelines
The initial deadline for comments on the Siting Straw is 5:00 p.m. ET on Friday, April 22, 2022. Possible extension due to stakeholder request.
Please submit comments directly to Docket No. QO21101186, using the “Post Comments” button on the NJBPU’s Public Document Search tool.
Comments are considered “public documents” for purposes of the State’s Open Public Records Act and any confidential information should be submitted in accordance with the procedures set forth in N.J.A.C. 14:1-12.3.
Written comments may also be submitted to:
    Secretary of the Board
    44 South Clinton Avenue, 1st Floor
    Post Office Box 350
    Trenton, NJ 08625-0350
    Phone: 609-292-1599
    Email: board.secretary@bpu.nj.gov

## Slide 23: THANK YOU – Let’s continue the conversation veronique.oomen@bpu.nj.gov