TOWN OF NEWTON

TIMELINE FOR UNACCOUNTED WATER

JANUARY 2011

- Leak detection to be completed by the Water Department*

- 4 hydrants leaking

- Repaired all 4 hydrants

DECEMBER 2010

- Leak detection to be completed by the Water Department*

- 3 hydrants leaking

- Repaired all 3 hydrants

NOVEMBER 2010

- Leak detection to be completed by the Water Department*

- 3 hydrants leaking

- Repaired all 3 hydrants

- Fixed service leak on 6 Franklin Street November 3, 2010

- Fixed service leak on 13 Mason Avenue November 3, 2010

- Found leak on homeowner’s side on 102 Lake Avenue November 4, 2010 and leak was fixed

- Found leak on homeowner’s side on 59 Madison Street November 16, 2010

- Fixed service leak on 11 Cherry Street, November 19, 2010

- Fixed 8 inch water main break on Moran Street.  We replaced 14 feet of 8 inch pipe, November 30, 2010

OCTOBER 2010

- Leak detection to be completed by the Water Department*

- 5 Hydrants leaking

- Repaired all 5 hydrants

- Fixed service leak on 14 Trenton Place October 22, 2010

SEPTEMBER 2010

- Leak detection to be completed by the Water Department*

- 7 Hydrants leaking

- Repair ¾ copper from main to curb box on 24 Pine Street September 8, 2010

- Replace 4 inch valve on Spring Street September 10, 2010

AUGUST 2010

- Leak detection to be completed by the Water Department*

- 6 Hydrants leaking

- Replace 4 inch valve on New Hampshire Street August 17, 2010

- Replace 4 inch valve on Park Place and Rt. 206 August 18,2010

- 250 Spring Street homeowner repair ¾ service August 20, 2010

JULY 2010

- Leak detection to be completed by the Water Department*

- Repaired service leak on Lake Avenue on July 12, 2010

- Repair 4” water main break on Hillside Terrace on July 13, 2010

- Placing new hydrant on Diller Avenue valve broke causing a water main break.  Replaced valve and placed new hydrant at location on July 14, 2010

- Replaced hydrant and valve on New Hampshire Street on July 15, 2010

- Replace hydrant in County Park on July 16, 2010

- Replaced hydrant on Woodside Avenue on July 17, 2010

- Replaced hydrant on Swartswood Road on July 19, 2010

- Repair hydrant on Merriam Gateway on July 19, 2010

- Replaced hydrant and valve on Maple Avenue July 22, 2010

- Hydrant Flow testing completed on 7/26/2010 and July 27, 2010

- Water leak on Park Place cut off old ¾ service on July 30, 2010

JUNE 2010

- Leak detection to be completed by the Water Department*

- 8 hydrants found leaking

- Meter pit on Mount View Street leaking and needs repair

- 89 Main Street water leak – service shut off on June 11, 2010 due to vacant house

- Repair hydrant on Woodside Avenue by the CITGO Station on June 11, 2010

- 12 Hamilton Street service leak on the Town side.  Fixed on June 30, 2010

MAY 2010

- No leak detection completed due to hydrant flow testing*

- Hydrant flow testing completed from May 5, 2010 – May 20, 2010

- 2 service leaks fixed on Route 206/Woodside Avenue on May 7, 2010

- Manual Air release valve fixed on 16” transmission main in Sparta on May 13, 2010

APRIL 2010

- Leak detection to be completed by the Water Department*

- 5 Ashford Street homeowner repaired service leak April 5, 2010

- 52 Hillside Terrace homeowner repaired service leak April 12, 2010

- 19 Ashford Street homeowner repaired service leak April 13, 2010

- 124 Spring Street homeowner repaired service leak April 14, 2010

- Hydrant flushing occurred April 25, 2010 through April 29, 2010

- 5 hydrants were found running during leak detection

MARCH 2010

- Leak detection to be completed by the Water Department*

- 79 High Street fix service leak March 4, 2010

- 6 Smith Street homeowner repaired service leak March 8, 2010

- 59 Madison Street fixed service leak March 12, 2010

- 15 Madison Street homeowner repaired service leak March 25, 2010

- 4 hydrants were found running during leak detection

FEBRUARY 2010

- Leak detection to be completed by the Water Department*

- 5 Ashford Street fixed service leak February 4, 2010

- 106 West End Avenue fix 6” water main break February 19, 2010

- 4 hydrants were found running during leak detection

JANUARY 2010

- Leak detection to be completed by the Water Department*

- 8 Franklin Street service leak January 2, 2010

- 206 & Trinity Street fixed two old service leaks on January 18, 2010

- 3 hydrants were found running during leak detection

DECEMBER 2009

- Leak detection to be completed by the Water Department*

- Verify allocation/unaccounted for water for 4th quarter

- Moran Street 8” water main break December 28, 2009 replace 18 feet of pipe

- 3 hydrants were found running during leak detection

NOVEMBER 2009

- Leak detection to be completed by the Water Department*

- 10 Madison Street fixed service leak on November 12, 2009

- 4 hydrants were found running during leak detection

OCTOBER 2009

- Leak detection to be completed by the Water Department*

- Meet with Town Council to provide update and provide 2010 schedule if needed

- Water department to flush hydrants and maintain total gallons flushed

- Hydrants were flushed from October 3, 2009 through October 9, 2009

SEPTEMBER 2009

- Leak detection to be completed by the Water Department*

- Verify allocation/unaccounted for water for 3rd quarter

- 48 West End Avenue repair service leak September 9, 2009

- Route 206 and Liberty water main break on six inch main September 10, 2009

- 36 Hillside Terrace repair service leak September 18, 2009

- Lake Avenue water main break on eight inch main September 30, 2009

AUGUST 2009

- Leak detection to be completed by the Water Department*

- 12 Cedar Street repair service leak August 10, 2009

- 96 Mount View Street repair service leak August 11, 2009

- 12 New Hampshire Street leak detected on property owner side August 16, 2009

- 250 Spring Street leak detected on property owner side August 16, 2009

- 63 Sussex Street repair service leak August 21, 2009

JULY 2009

- Leak detection to be completed by the Water Department*

- Purchase “security device” or “tamper-proof operating nut” for each hydrant (be completed over the next two years)

- 79 High Street repair service leak July 14, 2009

JUNE 2009

- Leak detection to be completed by the Water Department*

- Compile list of customers in the high pressure zone, and sum their quarterly usage to verify usage against water pumped to high pressure zone

- Verify allocation/unaccounted for water for 2nd quarter

- Fixed leak at #1 Fire House on June 5, 2009

- 89 Main Street leak week to be fixed of June 8, 2009

- 38 Liberty Street leak to be fixed week of June 8, 2009

- During leak detection 3 hydrants found running

- 62 Mill Street repair service leak June 29, 2009

- 18 Clinton Street repair service leak June 30, 2009

MAY 2009

- Leak detection to be completed by the Water Department*

- Semeraro to check the existing major stream crossings in Town at the following locations to confirm that the existing water mains are not leaking:

  - Moran Street – by NJ Inspection Station

  - Route 206 – by County Seat Restaurant

  - East Clinton Street – by Moore’s Brook

  - Mill Street – by Hillside Avenue

  - Mill Street – between Newton Industrial Park Buildings

  - Lake Avenue

  - Mt. View – dead ends

  - Shady Lane – by bridge/apartments

  - Landmark West Apartments

  - Park Avenue

  - Summit Avenue

  - Route 94 (below Summit Avenue)

  - Sparta Avenue (swamp near rental center building)

  - Newton Hospital service mains

- Provide information to customers on water conservation

- 9 Grand Avenue fixed ¾” cooper line on May 9, 2009

- 14 Liberty Street homeowner’s leak found and fixed by property owner on May 8, 2009

- 31 Douma Drive homeowner’s leak fixed by property owner on May 29, 2009

APRIL 2009

- Leak detection to be completed by the Water Department*

- Semeraro leak detectors to come in and check all valves from PR station to Town

- Semeraro to conduct leak detection in the entire Town

- Allied come and check all commercial meters

- File Allocation Permit to NJDEP for safe yield analysis** - to be completed end of April

- Fixed leak at 123 Spring Street found during leak detection

MARCH 2009

- Leak detection to be completed by the Water Department*

- Water meter to be placed in Memory Park Bathrooms – been ordered

- Purchase two new leak detection devices for a total cost of $3,895.35 – been purchased

- Check air relief valve manholes along both transmission mains to make sure none are broken/leaking - completed

- Verify allocation/unaccounted for water for 1st quarter – completed

- Fixed 4” water main on Trinity Street on March 12, 2009

- Water department flushed hydrants early for ISO; a log was maintained on total gallons flushed

FEBRUARY 2009

- File Allocation Permit to NJDEP for safe yield analysis**

- Leak detection to be completed by the Water Department*

- Provide spread sheets to Road Department, Water & Sewer, and County of Sussex for Street Sweeper and Vactor

- Provide spread sheet to Fire Department for department use to track drill/fire use

- Fixed 10” water main break on Hillside Terrace on February 5, 2009

- Fixed 6” water main break on Pine on February 8, 2009

- Removed meter pit on February 12, 2009 at 24 Pine Street

- Fixed service at G&H on February 26, 2009

- Fixed hydrant at Weis February 26, 2009

- Fixed hydrant on Dogwood Drive February 27, 2009

JANUARY 2009

- Leak detection completed by Water Department (found 2 hydrants leaking on Trinity St)*

- 2 hydrants were found running during leak detection

- Fixed water main break in Drake Manor on January 9, 2009

- Fixed water main break in Drake Manor on January 22, 2009; this was discovered during the leak detection earlier on January 22, 2009

- Fixed service leak on Woodside Avenue on January 23, 2009

- Fixed water main break on Mill Street on January 24, 2009

- Fixed service leak on Jefferson Street on January 26, 2009

DECEMBER 2008

- Leak detection completed by Water Department

- 8 hydrants were found running during leak detection

NOVEMBER 2008

- Strap Meter was placed at Pressure Reducing Station

- Plant Meter at Morris Lake had lowest reading 26.5 million gallons per month since February 2005

OCTOBER 2008

- Repaired water main breaks on Mill Street and Layne Place

*Leak detection involves all of town, Drake Manor and transmission main

** NJDEP to approve submittal for safe yield analysis review